Franck-Hertz

Equipment

| Qty | Description | Part |
| --- | --- | --- |
| 1 | Tunable DC Power Supply I | SE-6615 |
| 1 | DC Current Amplifier | SE-6621 |
| 1 | Tunable DC Power Supply II | SE-9644 |
| 1 | Franck-Hertz Tube Enclosure with Ar Tube | SE-9650 |
| Required but not included: |  |  |
| 1 | 550 or 850 Universal Interface | UI-5001/UI-5000 |

Introduction

As early as 1914, James Franck and Gustav Hertz discovered in the course of their investigations an energy loss in distinct steps for electrons passing through mercury vapor and a corresponding emission at the ultraviolet line (λ= 254 nm) of mercury. They performed this experiment that has become one of the classic demonstrations of the quantization of atomic energy levels. They were awarded the Nobel Prize for this work in 1925.

How It Works

Electrons are accelerated by applying a known potential between two grids inside the argon tube. When an electron has sufficient kinetic energy to excite one of argon’s outer orbital electrons and has an inelastic collision with an argon atom, the electron loses a specific amount of kinetic energy. This loss of electron kinetic energy causes a decrease in the electron current in the argon tube. Within a very short time, the excited argon electron will fall from the excited state back into the ground state level, emitting energy in the form of photons.

As the accelerating voltage is increased, the electrons undergo multiple collisions and the excitation energy of the argon atom can be determined by the differences between the accelerating voltages that cause a decrease in the current. Planck’s Constant can be determined.

# Principle of the Experiment

The Franck-Hertz tube is an evacuated glass cylinder with four electrodes (a “tetrode”) which contains argon. The four electrodes are:

- An indirectly heated oxide-coated cathode as an electron source

- Two grids G1 and G2

- A plate which serves as an electron collector (anode A)

Figure 1: Franck-Hertz Tube

Grid 1 (G1) is positive with respect to the cathode (K) (about 1.5 V). A variable potential difference is applied between the cathode and Grid 2 (G2) so that electrons emitted from the cathode can be accelerated to a range of electron energies. The distance between the cathode and the anode is large compared with the mean free path length in the argon in order to ensure a high collision probability. On the other hand, the separation between G2 and the collector electrode (A) is small. A small constant negative potential UG2A (“retarding potential”) is applied between G2 and the collector plate A (i.e. A is less positive than G2). The resulting electric field between G2 and collector electrode A opposes the motion of electrons to the collector electrode, so that electrons which have kinetic energy less than eUG2A at Grid 2 cannot reach the collector plate A. As will be shown later, this retarding voltage helps to differentiate the electrons having inelastic collisions from those that don’t.

A sensitive pico-ammeter (Current Amplifier) is connected to the collector electrode so that the current due to the electrons reaching the collector plate may be measured. As the accelerating voltage is increased, the following is expected to happen: Up to a certain voltage, say V1, the plate current IA will increase as more electrons reach the plate. When the voltage V is reached, it is noted that the plate current, IA, takes a sudden drop. This is due to the fact that the electrons just in front of the grid G2 have gained enough energy to collide inelastically with the argon atoms. Having lost energy to the argon atom, they do not have sufficient energy to overcome the retarding voltage between G2 and collector electrode A. This causes a decrease in the plate current IA. Now as the voltage is again increased, the electrons obtain the energy necessary for inelastic collisions before they reach the anode. After the collision, by the time they reach the grid, they have obtained enough energy to overcome the retarding voltage and will reach the collector plate. Thus, IA will increase. Again, when a certain voltage V2 is reached we note that IA drops. This means that the electrons have obtained enough energy to have two inelastic collisions before reaching the grid G2, but have not had enough remaining energy to overcome the retarding voltage. Increasing the voltage again, IA starts upward until a third value, V3, of the voltage is reached when IA drops. This corresponds to the electrons having three inelastic collisions before reaching the anode, and so on. The interesting fact is that V3-V2 equals V2-V1, etc., which shows that the argon atom has definite excitation levels and will absorb energy only in quantized amounts.

When an electron has an inelastic collision with an argon atom, the kinetic energy lost to the atom causes one of the outer orbital electrons to be pushed up to the next higher energy level. This excited electron will within a very short time fall back into the ground state level, emitting energy in the form of photons. The original bombarding electron is again accelerated toward the grid anode. Therefore, the excitation energy can be measured in two ways: by the method outlined above, or by spectral analysis of the radiation emitted by the excited atom.

Figure 2: Anode current curve

Figure 2 displays a typical measurement of the anode current, IA, as a function of the accelerating voltage. As soon as VG2K > VG2A the current increases with rising VG2K. Notice that the current sharply decreases for a voltage U1 and then increases up to U2, and then this pattern recurs. The interpretation of these observations is successful with the following assumptions:

- Having reached energy of about eUo, electrons can transmit their kinetic energy to a discrete excitement state of the argon atoms.

- As a result of the inelastic collision, they pass the braking voltage.

- If their energy is twice the required value, or 2eUo, they can collide two times inelastically and similarly for higher voltages.

- As a matter of fact, a strong line can be found for emission and absorption corresponding to an energy of eUo, the excitation energy of argon, in the optical spectrum (108.1 nm).

- In Figure 2, the resonance voltage is denoted by Uo.

eUo=hf=hcλ

or

λ=hceUo

where e is the charge on an electron, h is Planck’s Constant, and c is the speed of light.

Setup

ATTENTION: Make sure all of the voltage knobs are turned completely counter-clockwise and the power supplies are off before you connect the circuit.

- Connect the 0-6.3 V from Power Supply I to the Filament on the Franck-Hertz case.

- Connect the -4.5-30 V from Power Supply I to G1K on the Franck-Hertz case. Push the button in on the power supply to choose the -4.5-30 V range.

- Connect the 0-0100 V from Power Supply II to G2K. Push the button in on the power supply to choose the 0-100 V range.

- Connect the 0-10 V from Power Supply II to G2A.

- Connect the DC Current Amplifier BNC to the BNC on the Franck-Hertz case.

- Turn on the power supplies and the current amplifier.

- On Power Supply I, adjust the -4.5-30V knob until the digital display reads zero.

- Push the button in on the Current Amplifier and adjust the current reading to zero. Then put the button in the out position for measurement.

- Look on the top of the Franck-Hertz case for the suggested filament voltage. Set the voltage on Power Supply I to that voltage and let the filament heat up for about 15 minutes.

- Connect the Current Amplifier interface port to Ch. A on the 850 Interface.

- Connect the Power Supply II 0-100 V interface port to Ch.B. on the 850 Interface.

- Set the G1K voltage to 1.5 V.

Caution: If, at any time during the experiment, the current starts to increase rapidly, immediately turn down the accelerating voltage to avoid damaging the tube. To keep this from happening again, reduce the filament voltage by a few tenths of a volt and let the filament cool down before starting the experiment again.

Set the G2A voltage to 10 V.  Note: These are suggested settings for the experiment, but other values could be tried. You can do the experiment by parameters that are marked on the Argon Tube Enclosure.

- In PASCO Capstone, create a graph of Current (select units of pA) vs. Voltage. On the Current axis of the graph, select a Quick Calc of -I (negative current) to make the graph positive. Keep the default sample rate of 20 Hz.

Procedure

- Start recording. Slowly and steadily increase the accelerating voltage from zero to about 80 V over a period of about three minutes. Caution: Watch the current and if it suddenly rises, immediately reduce the accelerating voltage to zero to avoid damaging the tube.

- Stop recording.

- Create a table and make a user-entered data set called Peak Voltage with units of V. Then make another user-entered data set called Trough Voltage with units of V. Add two columns to the table and create two calculations with units of V:

‎	Diff between Peaks‎=diff(1,[Peak Voltage (V)])

‎	Diff between Troughs‎=diff(1,[Trough Voltage (V)‎])

- On the graph, use the Coordinates Tool to find the voltages of all the peaks and troughs and record them in the corresponding columns of the table.

Analysis

- In the table, turn on the statistics for the mean and the standard deviation for the Differences. Record the mean and standard deviation for the differences between the peaks and the differences between the troughs.

- Are the trough and peak differences equally precise?

- Round the mean to the appropriate number of digits, taking into consideration the standard deviation.

- Use the mean difference to calculate the wavelength of the emitted light.