# Earth's Magnetic Field

# Equipment

| 1 | 2-Axis Magnetic Field Sensor | PS-2162 |
| --- | --- | --- |
| 1 | Zero Gauss Chamber | EM-8652 |
| 1 | Rotary Motion Sensor | PS-2120 |
| 1 | Dip Needle | SF-8619 |
| 1 | Large Rod Base | ME-8735 |
| 1 | 90 cm Stainless Steel Rod | ME-8738 |
| Required but not included: |  |  |
| 1 | 850 Universal Interface | UI-5000 |
| 1 | PASCO Capstone |  |

# Introduction

The magnitude and direction of the Earth's magnetic field are measured using a Magnetic Field Sensor mounted on a Rotary Motion Sensor. The Magnetic Field Sensor is rotated through 720 degrees in a horizontal plane and then 720 degrees in a vertical plane by rotating the Rotary Motion Sensor pulley by hand. This allows a determination of the horizontal component of the Earth’s magnetic field, the total field and the dip angle. The Magnetic Field Sensor is zeroed using the Zero Gauss Chamber, the walls of which are made of a highly permeable material which redirects the magnetic field around the chamber.

# Theory

The magnitude of the Earth's field varies over the surface of the Earth. The horizontal component of the Earth's magnetic field points toward the Magnetic North Pole (which must therefore have a South polarity). The north end of a compass needle is attracted to the south end of the Earth's magnetic field. So the pole which is referred to as "North Magnetic Pole" is actually a south magnetic pole. Don’t get confused. The physics is straight forward; it’s the language that gets confused.

The total field points at an angle from the horizontal. This angle (θ) is called the dip angle. An example for the Northern hemisphere is shown in Figure 1.

cos θ = BHorizontal/BTotal			(1)

The Magnetic Field Sensor detects the component of the magnetic field in a direction that is parallel to the clear probe on the sensor. If we rotate the sensor in a horizontal plane, the sensor will detect the component of BHorizontal that lies along the clear probe and is given by

B90 = BHorizontal cos α			(2)

where α is the angle from magnetic north (see Figure 2) and B90 is the component of BHorizontal (and of BTotal) in the horizontal plane (the 90 refers to the angle read by the angle indicator when horizontal).

If we rotate the sensor in a vertical plane that includes BTotal, then the sensor will detect B00, the component of BTotal in that plane and is given by

B00 = BTotal cos β			(3)

where β is defined in Figure 3. The angle from horizontal, θ, where B00 is maximum (β = 0) will be the dip angle.

BHorizontal

BVertical

BTotal

θ

Figure 1: Components of the Magnetic Field (Northern Hemisphere)

Figure 2: Horizontal Plane		Figure3: BTotal

Setup

NOTE: During this experiment, keep the apparatus away from all sources of magnetic fields (electrical, computers, computer interface, bar magnets). Also keep away from all ferromagnetic materials (iron, steel chairs and tables). This is essential for good results since the Earth’s Field is orders of magnitude smaller than the field near a refrigerator magnet.

- Assemble the system as shown in Figure 4. Note that the raised key inside the Magnetic Field Sensor handle slides into the notch on the shaft of the Rotary Motion Sensor. Use a nonmagnetic stainless steel rod in the rod holder. Attach the Rotary Motion Sensor as high as possible on the stainless steel rod to keep the Magnetic Field Sensor as far away from the rod as possible. Set up on the floor away from the lab table (see Figure 4) to help minimize the presence of stray fields.

- Plug the Rotary Motion Sensor and the Magnetic Field Sensor into any two PASPORT inputs on the 850 Universal Interface.

- In PASCO Capstone, set the Common Sample Rate to 20 Hz.

Figure 4: Setup

- Create a graph of Magnetic Field Strength (Axial) vs. Angle. Select units of mT for the Magnetic Field Strength and degrees for the Angle.

Procedure A: Horizontal Component of the Magnetic Field of the Earth

- Put the Dip Needle in its horizontal orientation and position the base of the Dip Needle directly against the case of the Rotary Motion Sensor as shown in Figure 5. Rotate the Rotary Motion Sensor until the compass needle is aligned with its holding fork (as shown in Figure 5) and the north end of the needle is at the 270 degree mark. Remove the Dip Needle so its magnetic field won't interfere with the experiment.

Figure 5: Aligning with North

- If a level is available, level the top of the case of the Rotary Motion Sensor along its long axis. If it is off by less than 10 degrees, it won’t noticeably affect the magnitudes of the magnet fields, but will affect the value of the dip angle.

- Rotate the Magnetic Field Sensor so the length of the probe is perpendicular to the direction of the Earth's field as indicated by the long axis Rotary Motion Sensor case. Slip the Zero Gauss Chamber over the Magnetic Field Sensor probe and press the Tare button on the Magnetic Field Sensor. Release the Tare button and then remove the Zero Gauss Chamber. The horizontal component of the magnetic field is zero at an angle of 90 degrees from north. Pushing the Tare button here should set the sensor zero to zero at this point. However, the magnetic field strength is only a few hundredths of a mT and the noise is of the same order of magnitude. This means that instead of seeing zero when perpendicular to the field and a field that goes symmetrically above and below zero, the measured field will be shifted vertically a bit by this zero error depending on which reading it uses for zero. This will not affect the experiment at all.

- Align the Magnetic Field Sensor with the long axis of the Rotary Motion Sensor (as in Figure 5) so it points due north. Click RECORD. Slowly and steadily rotate the Rotary Motion Sensor pulley through two and one quarter revolutions clockwise. Click STOP. It will help if someone holds the cable clear. If the angles on the graph are negative it will not affect anything, but you can get positive angles by deleting this run and repeating the run while rotating in the opposite direction.

- The field should have its most negative (most positive if you aligned south instead of north) value at 0o, 360o, and 720o. If not, you probably have not aligned the system correctly and need to correct it and repeat the run.

- Click on Data Summary at the left of the screen. Double click on this run (probably Run #1) and re-label it “Horizontal 1”.

- Repeat steps 5-7 twice more, labeling the runs “Horizontal 2” and “Horizontal 3”.

Procedure B: Total Magnetic Field of the Earth

- To allow the Magnetic Field Sensor to rotate in a vertical circle, remove the Rotary Motion Sensor from the rod, rotate it 90⁰ and reattach it to the rod. As before (see Figure 5), align the Rotary Motion Sensor with the Earth's field using the Dip Needle.

- Point the Magnetic Field Sensor probe horizontally.

- With the Magnetic Field Sensor still horizontal, click RECORD. Slowly and steadily rotate the Rotary Motion Sensor pulley through two-and-one-quarter revolutions in a direction so probe turns downward first. Click STOP.

- Click on Data Summary at the left of the screen. Double click on this run and re-label it “Vertical 1”.

- Repeat steps 2-4 twice more. Label the runs “Vertical 2” and Vertical 3”.

- Hold the Dip Needle (still in its horizontal position) on top of the Rotary Motion Sensor case so it is level and align it so the needle points to the 270o mark. Rotate the fork 90o so the needle pivots in a vertical plane. Allow the needle to come to rest and read the number of degrees it is below horizontal (270o). Record the value in the table on the Dip Angle page in line 5 of the Dip Angle table.

Analysis

- Create a table as shown below:

The columns labeled “Field”, “Run 1”, “Run 2”, and “Run 3” are User-Entered Data sets. The last two columns are calculations:

‎Average‎ = ([Run 1] + [Run 2‎] + [Run 3‎])/3

‎Uncertainty ‎= ((([Run 1]-[Average])2+([Run 2]-[Average‎])2+([Run 3‎]-[Average‎])2)/2)1/2

| Field | Run 1 (mT) | Run 2 (mT) | Run 3 (mT) | Average (mT) | Uncertainty (mT) |
| --- | --- | --- | --- | --- | --- |
| Horizontal |  |  |  |  |  |
| Total |  |  |  |  |  |

- Select the “Horizontal 1” run on the graph. Click the Scale-to-Fit icon on the graph toolbar.

- Click the Selection icon on the graph toolbar and drag the handles on the Selection box to highlight the data from just after you began taking data to just before you ended. Stay away from the endpoints.

- Select a Sine fit (see the Theory section to see why the data should fit a sine curve).  The sine curve on the screen may match your data well, but the computer has some problems matching such noisy data.  If the curve is clearly wrong, click on the annotation box for the curve fit and open the Curve Fit Editor at the left side of the page. Put in an initial guess for the amplitude (A) that is approximately half of the peak-to-peak value. Then click Update Fit.

- Record the value of the amplitude of the sine curve (A in the Sine box) in the Horizontal row, Run 1 column of the table above. Ignore any minus sign. This is the value for BHorizontal (BTotal for the vertical runs) since it is the maximum value if the curve were symmetric about zero.

- Repeat steps 1-4 for the other two horizontal runs.

- Repeat steps 1-4 for the three vertical runs recording the amplitudes in the Total row of the table.

- Note that for both the Horizontal field and the Total Field, the computer calculates the average value and the uncertainty for the fields from your three values.

The Dip Angle

- Create a table as shown below:

|  | Angle From | Dip Angle (degrees) |
| --- | --- | --- |
| 1 | Graph Vertical 1 |  |
| 2 | Graph Vertical 1 |  |
| 3 | Graph Vertical 1 |  |
| 4 | Graph Average |  |
| 5 | Dip Needle |  |
| 6 | Equation 1 |  |

- Select the “Vertical 1” run on the graph.

- Click on the Selection icon and drag the handles on the Selection box to highlight data from just after you started the run to around 400o (one full cycle plus a little). Click the Scale-to-Fit icon.

- Select a Sine fit. As before, you may have to supply an initial guess for the amplitude (A).

- Estimate the angle at which the first minimum (first maximum if in magnetic southern hemisphere) occurred. The best way to do this is to pick a horizontal line (constant magnetic field strength) and average the values for the angle where the sine curve crosses the line before the minimum with the angle where it crosses the line after the minimum. This is more accurate that trying to judge the minimum since it is rather flat on the bottom. Enter your value in line 1 of the table. Repeat for the other two vertical runs, entering the values in lines 2 and 3 of the table. Calculate the average of the three values and enter it in line 4.

- Use the average values of BHorizontal and the total magnetic field, BTotal, to calculate the dip angle. Enter the value in line 6 of the Dip Angle table.

- Do the different methods of finding the Dip Angle agree?